Inside NIH Image

(NIH Image 1.58)

General Information	2

About this Document	2

Macro Examples, Techniques & Operations	2

What is a macro and why write one?	2

Before you begin	3

For the programming beginner	3

Macro global vs. local vars	3

Putmessage, ShowMessage & Write	4

Switching and choosing windows	5

How to input a number or string	6

Looping	6

Regions of Interest (ROI)	7

Detecting the press of the mouse button	8

Detecting press of option, shift and control keys	8

Measurement and rUser Arrays	9

Placing macro data in the "Results" window	9

Operating on each image in a stack (SelectSlice)	10

Accessing bytes of an image	11

Reading from disk (importing)	12

Batch Processing	12

Avoiding a macro dialog box	13

TickCount	14

Accessing an image Look Up Table (LUT)	14

Placing time and date into your data	15

PlotData notes	15

Calling user written pascal from a macro	16

Pascal Examples, Techniques & Operations	18

Users can use User.p	18

Recommended addition when adding to pascal	18

Returning a value from pascal to a macro	18

Pascal versions of SelectSlice & SelectPic	19

Putmessage, showmessage & PutmessageWithCancel	19

Reading from disk	21

Memory and pointer allocation	22

Operating on an Image	23

Getting at the bytes of an image	23

Working with two images	27

Touching the 4th dimension	28

Creating a dialog box	29

Key & mouse	29

Image and text	30

Photoshop plug-ins and debugging	33

.c.General Information

.c2.About this Document

This document is intended for beginners, like myself, who never studied programming but need to use software and get the most out of it. For those who would like to correct errors in this guide please contact Mark Vivino in the NIH Division of Computer Research and Technology.  My email is mvivino@helix.nih.gov. If you are like me, spending your whole day writing a graphical user interface is not your way of make a contribution to the world. You might have an image processing application that needs doing and don't want to figure out all the aspects of the Mac Toolbox (or Windows or Motif). You can build your image processing application into the NIH Image program and save yourself from a lot of wasted effort. Hopefully, this manual may help you on your route whether simple (macro) or complex (pascal). Having freely available and modifiable source code is not seen often with most commercial packages. This guide updated 12/28/94, current to Image version 1.56.

.c.Macro Examples, Techniques & Operations;

.c2.What is a macro and why write one?

A macro is text containing a sequence of calls or routines which NIH Image interprets and executes. To write a macro, you can choose "New" then "text window" to create a text window within NIH Image. You load the macro using "Load Macro". A rich set of example macro routines is distributed with the NIH Image program. You can try some of these out and borrow code from them in order to write your own macro.

Simple macros, such as the one below, are useful utilities to save time and effort. This macro is an example of a macro which follows the same operations that could be performed by you from the NIH Image menus.  It's operation is to clear anything outside of the Region of Interest (ROI) which you draw. Macros can, of course, be much larger and can include looping, calculations and basically an entire imaging application.

MACRO 'Clear Outside [C]';

{Erase region outside ROI.}

BEGIN

Copy;

SelectAll;

Clear;

RestoreRoi;

Paste;

KillRoi;

END;

As a general guidline, if you have a highly iterative operation, prolonged calculation, derivation, modification or anything else complex you should consider using a pascal routine for that portion of your coding. The ease of the macro interface with your code executing at compiled pascal execution rates can be done with calls to UserCode in your macro.

.c2.Before you begin

It should not be hard for you to start writing a macro. You will want to do several things before you begin. First, go to the "About Image" file and print the section on macro programming. This provides you with a complete list of all macro calls. The list is organized by the Image menus or is categorized as miscellaneous. After this loacte the macros folder distributed with NIH Image. Open, load and examine some of the macros. Try using "Find" from the "Edit" menu on one of the open macros. "Find" is fairly useful in helping you debug a macro. It allows you to go to sources of error when you get error messages during the load or execution of a macro. You may also want to locate a file called "reference card" in the macros folder. This text file might be useful for observation while programming a macro.

.c2.For the programming beginner

You probably don't need to study programming to write a macro. Depending on the complexity of your application, you might be able to pick up everything you need by examining some of the macros in the macros folder. To some a confusing aspect of writing macros is understanding what a function is and how it is used. A function returns a value or a boolean (true/false). In the example below, nPics is a function which will return an integer number of pictures open. KeyDown('option') returns a true or false depending on whether you hold the option key down.

Macro 'Function demo';

begin

{Here is an example use of the nPics function returning a value}

showmessage('Number of images open: ',nPics);

{Here is an example use of keydown function returning a boolean}

If KeyDown('option') then putmessage('Number of images open: ',nPics);

end;

One text I recomend skimming through is Pascal Programming and Problem Solving, by Leestma and Nyhoff, other texts are listed in the "About Image" section on macro programming.

.c2.Macro global vs. local vars;

Just as in pascal, C, or other programming languages, you can have a local or global variable. A global variable is declared at the top of the macro file and can be utilized by any procedure or macro in the file. A local variable is declared in the procedure or macro in which it is used. For the example macro set below, "A" and "B" are local to the 'Add numbers' macro. "Answer" is globally declared and used by both macros.

VAR

Answer:real;

Macro 'Add numbers';

Var

A,B: real;

begin

A := Getnumber('Enter the first number',2.0);

B := Getnumber('Enter the second number',3.14);

Answer := A+B;

end;

Macro 'Show Answer';

begin

ShowMessage(' The added result is: ', Answer:4:2);

end;

.c2.Putmessage, ShowMessage & Write

PutMessage

PutMessage is perhaps one of the easiest ways to provide feedback to users. To use putmessage you simply call the routine with the message or string you wish to give to the user.

PutMessage('This macro requires a line selection');

You can pass multiple arguments with PutMessage if you needed to.

PutMessage('Have a ', 'Nice day');

ShowMessage

ShowMessage allows display of calculations, data, variables or whatever you caste as a string into the Info window.

Here is a simple example of output to the Info window:

ShowMessage('x1 = ',x1);

You can use the backslash ('\') character to do a carriage return for macros:

ShowMessage('Average Size=',AverageSize:1:2,'\TotalCount=',TotalCount);

Write

You can also write data or info onto the image window with a macro call to Write or Writeln.

Diameter := Width / PixelsPerMM; {in MM.}

MoveTo(300,10);

Write('Diameter = ', Diameter:5:2,'  mm.');

.c2.Switching and choosing windows;

There are a number of ways to switch between windows in a macro. For the most part you will need to use the PidNumber function to identify a unique ID for that window. Pidnumber is a function which returns a value. For example you might have:

var

MyPicID:integer;

begin

MyPicID := PidNumber;

Duplicate('Duplicate image');

{some process}

SelectPic(MyPicID); {To go back to the original}

Here the returned value from the PidNumber function was assigned to a variable called MyPicID. The variable MyPicID was then used later on in the macro to select the picture.

As an alternative to SelectPic, you could have used ChoosePic(MyPicID). This would have selected the picture but would not have made it the active front window. This is useful when you flip between many windows, but do not need to activate the window.

As a second alternative, you could can use SelectWindow('Window name') to select the window by its title.

.c2.How to input a number or string

Making a call to getnumber will allow you to enter a number into your macro. The GetNumber macro will return a real number, or if assigned to an integer variable, such as in this example, it will not pass the decimal digits.

var

MyGlobalNumber:integer;

macro 'Number input';

begin

myGlobalNumber:=GetNumber('Enter number of iterations:',0);

end;

The idea is the same for entering a string

var

MyString:string;

macro 'String input';

begin

MyString:=GetString('What name?','Data');

end;

.c2.Looping

The NIH Image macro language has the standard set of pascal loops. This includes "for" loops and "while" loops. Although close to pascal, the macro language doesn't have everything as this email shows:

From wayne@helix.nih.gov (Wayne Rasband) reply on nih-image@soils.umn.edu

>in the "for" command (as in for i= 1 to fred Do) is there a skip command.

>For example, can I choose to do:

>       for i = 1 to fred by 10 DO

The NIH Image macro language is (almost) a subset of Pascal and the Pascal

FOR statement does not have a BY option. Instead, use a WHILE loop. For

example:

i:=1;

while i<=fred do begin

{process}

i:=i+10;

end;

.c2.Regions of Interest (ROI)

Before you start looking at macro ROI's an introduction to coordinates is worthwhile. See the picture below for a general guideline. Regions of interest are characterized by 'marching ants' which surround a selection.

Getting ROI information

GetRoi(left,top,width,height)

You will want to call this macro routine if you need any information about the current ROI. The routine returns a width of zero if no ROI exists.

ROI creation

SelectAll

The Selectall macro command is equivalent to the Pascal SelectAll(true), which selects all of the image and shows the ROI's 'marching ants'. See the above paragraph for pascal code relating to Selectall.

MakeRoi(left,top,width,height)

This is as straight forward as the name implies.

MakeOvalRoi(left,top,width,height)

Not terribly differing to implement from MakeROI. If you want a circular ROI set width and height to the same value. See the example below.

Altering an existing ROI

MoveRoi(dx,dy)

Use to move right dx and down dy.

InsetRoi(delta)

Expands the ROI if delta is negative, Shrinks the ROI if delta is positive.

Other routines involving ROI's

RestoreROI,KillRoi

These are opposities.

Copy,Paste,Clear,Fill,Invert,DrawBoundary

.c2.Detecting the press of the mouse button

The example below shows a macro which operates until the mouse button is pressed. Button is your basic true or false boolean and becomes true when the button is pressed.

macro 'Show RGB Values [S]';

var

x,y,v,savex,savey:integer;

begin

repeat

savex:=x; savey:=y;

GetMouse(x,y);

if (x<>savex) or (y<>savey) then begin

v:=GetPixel(x,y);

ShowMessage('loc=',x:1,', ',y:1,

'\value=',v:1,

'\RGB=',RedLUT[v]:1,', ',GreenLUT[v]:1,', ',BlueLUT[v]:1);

wait(.5);

end;

until button;

end;

.c2.Detecting press of option, shift and control keys

The macro "KeyDown(key)" (Key = 'option', 'shift', or 'control') returns a boolean true or false. It returns TRUE if the specified key is down. The example macro below can be run on any stack, using shift to delay more or control to delay less.

macro 'Animate Stack';

var

i,delay:integer;

begin

RequiresVersion(1.56);

i:=0;

delay:=0.1;

repeat

i:=i+1;

if i>nSlices then i:=1;

Wait(delay);

SelectSlice(i);

if KeyDown('shift') then delay:=1.5*delay;

if delay>1 then delay:=1;

if KeyDown('control') then delay:=0.66*delay;

if KeyDown('option') then beep;

ShowMessage('delay=',delay:4:2);

until button;

end;

.c2.Measurement and rUser Arrays;

There are a number of arrays in macros, but there are two varieties the measurement arrays and the rUser arrays. You can store macro data and results in the rUser arrays. These arrays are not affected by the Measurement counter (rCount) which works with measurements arrays such as rMean[rCount], rArea, etc. The current rCount for these is changed by doing a measurement or calling SetCounter.

Example of storing data to the rUser arrays:

rUser1[1]:=SomeNumber;

rUser2[1]:=SomeOtherNumber;

If you have more than two sets of data which you'd like to keep, and because there are only two rUser arrays, then you can access other macro arrays. This includes rArea, rMean, rStdDev, rX, rY, rMin, rMax, rLength, rMajor, rMinor, and rAngle. However you will need to be careful because these arrays are affected by the rCount value and you could write over your data. An example use of measurement arrays outside the intended use is a snipet of code from the Export look up table macro:

for i:=0 to 255 do begin

rArea[i+1]:=RedLut[i];

rMean[i+1]:=GreenLut[i];

rLength[i+1]:=BlueLut[i];

end;

Here rArea, rMean and rLength are used for Red, Green and Blue instead of area, mean and length.

.c2.Placing macro data in the "Results" window;

If you have particular information, data, calculated results, or any type of numeric data which you want to keep, you can redirect it into the Results window. Use the SetUser label commands to title your field name. The rCount function keeps the current index of the measurement counter. Since rUser1 and rUser2 are arrays, you specify the index of the array with the rCount value. See below.

macro 'Count Black and White Pixels [B]';

{

Counts the number of black and white pixels in the current

selection and stores the counts in the User1 and User2 columns.

}

begin

RequiresVersion(1.44);

SetUser1Label('Black');

SetUser2Label('White');

Measure;

rUser1[rCount]:=histogram[255];

rUser2[rCount]:=histogram[0];

UpdateResults;

end;

Saving results data to a tab delimeted file

You can also save data from the macro, to a tab delimeted text file by adding several commands in your macro:

SetExport('Measurements');

Export('YourFileName');

.c2.Operating on each image in a stack (SelectSlice);

By using a loop (for i:= 1 to nSlices)  you can operate on a series of 2D images. The nSlices function returns the number of slices in the stack.

macro 'Reduce Noise';

var

i:integer;

begin

if nSlices=0 then begin

PutMessage('This window is not a stack');

exit;

end;

for i:= 1 to nSlices do begin

SelectSlice(i);

ReduceNoise;   {Call any routine you want, including UserCode}

end;

end;

See the series of stack macros distributed with the Image program for more examples.

c2.Extracting a substring from a string

From reply of Doug Morris <dmorris@bmrl.med.uiuc.edu> on nih-image@soils.umn.edu

> I have a question about how to "extract" a substring from a string using

> NIH Image macro language. It doesn't seem to have pascal's "copy(source,

> index, count)" function implemented at macro language level.

It is possible to work around this particular problem.  Below is

an example macro that will allow you to pull a substring out of a string.

Just cut it out of the mail message and read into image.

{

An example routine to return a substring from a string in NIH Image macro.

}

var

ReturnString:string;

procedure copystring(SourceString:string,index:integer,count:integer);

begin;

ReturnString:=SourceString;

if index > 0 then Delete(ReturnString,0,index);

Delete(ReturnString,count+1,length(ReturnString)-count);

end;

macro 'test copystring'

var TestString:string;

begin

TestString:='This is a test';

copystring(TestString,11,4);

PutMessage('The Returned String is :  ' ReturnString);

end;

.c2.Accessing bytes of an image

The macro commands GetRow, GetColumn, PutRow and PutColumn can be used for accessing the image on a line by line basis. These macro routines use what is know as the LineBuffer array. This array is of the internally defined type known as LineType. Pascal routines such as GetLine use the LineType. If you plan on accessing 'lines' of the image within your macro, it would might be worth your while to examine the pascal examples in the pascal section. After looking at these, you probably will see how to use the LineBuffer array in a macro.

First look at the definition of LineType;. LineType is globally declared as:

LineType = packed array[0..MaxLine] of UnsignedByte;

Naturally, .i.UnsignedByte; has been type defined as:

UnsignedByte = 0..255;

The example below is a macro which uses the linebuffer array. If you are interested in using a macro to get at image data, this example should be fairly clear.

Macro 'Invert lines of image'

var

i,j,width,height:integer;

begin

GetPicSize(width,height);

for i:=1 to height do begin

GetRow(0,i,width);

for j:=1 to width do begin

LineBuffer[j] := 255-LineBuffer[j];

end;

PutRow(0,i,width);

end;

.c2.Reading from disk (importing);

One simple way to load data from disk is to create a window and dump information to it. An example of this is a macro which imports files created by the IPLab program. The macro reads the first 100 bytes from the file into a temporary window. It erases the window when it is through finding useful header information.

macro 'Import IPLab File';

var

width,height,offset:integer;

begin

width:=100;

height:=1;

offset:=0;

SetImport('8-bit');

SetCustom(width,height,offset);

Import(''); {Read in header as an image, prompting for file name.}

width := (GetPixel(8,0)*256) + GetPixel(9,0);

height := (GetPixel(12,0)*256) + GetPixel(13,0);

Dispose;

offset:=2120;  {The IPLab offset}

SetImport('16-bit Signed; Calibrate; Autoscale');

SetCustom(width,height,offset);

Import('');  {No prompt this time; Import remembers the name.}

end;

See the pascal section for examples of reading from disk (non-image data) to User arrays.

.c2.Batch Processing

From wayne@helix.nih.gov (Wayne Rasband) reply on nih-image@soils.umn.edu

>is there a possiblility to define 'open' access to the file contents of a

>folder (with, lets say, Images of 2.5 MB size each)? I want to do a Batch list

>for Background subtraction and contrast enhancement.

It's easy to write a macro to process a series of images in a folder as

long as the file names contain a numerical sequence such as 'file01.pic',

'file02.pic', 'file03.pic', etc. I have included an example macro that does

this.

macro 'Batch Processing Example';

{

Reads from disk and processes a set of images too large to

simultaneously fit in memory. The image names names must be

in the form 'image001', 'image002', ..., but this can be changed.

}

var

i:integer;

begin

for i:=1 to 1000 do begin

open('image',i:3);

{process;}

save;

close;

end;

end;

.c2.Avoiding a macro dialog box;

From wayne@helix.nih.gov (Wayne Rasband) reply on nih-image@soils.umn.edu

You should be able to process many files and only have to see one dialog

box. For example, only one dialog appears when you run the following macro

as long as 'A', 'B' and 'C' are in the same folder.

macro 'test';

begin

Open('A');

Invert;

Save;

Close;

Open('B');

Another way to avoid the dialog box is to use full directory paths as in

the following example.

macro 'test';

begin

Open('hd400:images:A');

Invert;

Save;

Close;

Open('hd400:images:B');

Invert;

Save;

Close;

Open('hd400:images:C');

Invert;

Save;

Close;

end;

In V1.55, you can use a full folder path [.e.g., SaveAs('HD400:My Images:mage001')] and the dialog box will not be displayed.

.c2.TickCount

From wayne@helix.nih.gov (Wayne Rasband) reply on nih-image@soils.umn.edu

According to "Inside Macintosh", ticks are counted at the rate of 60 per

second. You can varify this by running the enclosed macro and timing the

interval between beeps.

macro 'TickCount Test';

{"Beeps" every 10 seconds}

var

interval,ticks:integer;

begin

interval:=600;

ticks:=TickCount+interval;

repeat

if TickCount>=ticks then begin

beep;

ticks:=ticks+interval;

end;

until button;

end;

.c2.Accessing an image Look Up Table (LUT);

You can modify the way an image appears by altering the RedLUT, GreenLUT and BlueLUT. This is simple and straightforward enough. You can access the RedLUT, GreenLUT and BlueLUT arrays from both macros and from Pascal.

The pascal definitions are:

LutArray = packed array[0..255] of byte;

RedLUT, GreenLUT, BlueLUT: LutArray;

Here is an example macro which finds any gray or black components in a color image and sets them to white. It's useful for seperating certain kinds of medical data.

macro 'Remove Equal RGB [V]';

{Changes only the LUT, removes gray component from an image}

var

i,Value:integer;

begin

for i:=1 to 254 do begin

If ((RedLUT[i] = BlueLUT[i]) and (RedLUT[i] = GreenLUT[i]))

then begin

RedLut[i] :=255;

BlueLut[i] := 255;

GreenLut[i] :=255;

end;

end;

ChangeValues(255,255,0); {remove black}

UpdateLUT;

end;

.c2.Placing time and date into your data;

From wayne@helix.nih.gov (Wayne Rasband) reply on nih-image@soils.umn.edu

>>Here is a macro that writes the current date and time to a text window.

>

>Can this macro be modified to write the date and time into the "Show Results"

>window?

No, but it can be modified to also store results into the text window. I

have included a macro that does that. Here is what the output from this

macro looks like:

Date=94:5:31

Time=14:45:24

Area=10000.000

Mean=80.198

macro 'Write Results to Text Window';

var

year,month,day,hour,minute,second,dow:integer;

begin

GetTime(year,month,day,hour,minute,second,dow);

Measure;

NewTextWindow('My Results');

writeln('Date=',year-1900:1,':',month:1,':',day:1);

writeln('Time=',hour:1,':'minute:1,':',second:1);

writeln('Area=',rArea[rCount]:1:3);

writeln('Mean=',rMean[rCount]:1:3);

end;

.c2.PlotData notes

From reply of jy@nhm.ic.ac.uk on nih-image@soils.umn.edu

>Does anyone know of an easy way to get the actual points in x,y coordinates and

>the values at each point from the profile plot data using macros?

Image 1.54 introduced a new command to +/- allow this:

"A command was added to the macro language for making profile plot data

available to macro routines. It has the form

"GetPlotData(count,ppv,min,max)", where count is the number of values, ppv

is the number of pixels averaged for each value, and min and max are the

minimum and maximum values. The plot data values are returned in a built-in

real array named PlotData, which uses indexes in the range 0-4095. The

macro "Plot Profile" in "Plotting Macros" illustrates how to use

GetPlotData and PlotData."

[from the changes file]

To help answer your question further....

1. For a count value of n the PlotData array will have meaningful values

from 0 to n-1 (higher array values are accessible but will contain

old/meaningless results).

2. Count is equal to the line length, in pixels, rounded to the nearest

integer value. But...

3. Substantially more pixels are usually highlighted by a line selection,

and this seems to have only an approximate corelation with the pixels used

by PlotData.

4 The PlotData array contains real-numbers (not integers) which presumably

are derived from a weighted average of pixels rather than being the values

of single pixels - even when ppv is 1. Because of this it is not possible

to relate PlotData values to single locations.

5. My conclusion after some experimentation is that;

after     GetLine(x1,y1,x2,y2,lw);

and       GetPlotData(count,ppv,min,max);

The following function will probably return the centre of the location used

to derive PlotData[c]:

ypos:=y1+(c+0.5)/(count)*(y2-y1);

xpos:=x1+(c+0.5)/(count)*(x2-x1);

.c2.Calling user written pascal from a macro;

Image allows you to call by name user developed pascal routines from a macro which you write. Outlined below are example steps you can take to achieve this. You can pass into your pascal procedure up to three extended values. If you don't have any values to pass than pass a zero or any other value.

Step 1:

Write a macro or macro procedure which calls UserCode(n,p1,p2,p3). Be sure to pass values for n, p1, p2 and p3. The example below will call a routine in User.p to add and display two numbers. Note that n equals 1 in this call, because the routine calls the 1st UserMacroCode. This is further explained in step 3.

macro 'Add two values'

var

NoValue:integer;

ValueOne,ValueTwo:Real;

begin

NoValue := 0;

ValueOne := 2.0;

ValueTwo := 3.14

UserCode('AddTwoNumbers',ValueOne,ValueTwo,NoValue);

end;

Step 2:

Write a pascal routine in the User.p module. Again, this example simply adds two numbers and shows the result in the Info Window.

procedure AddTwoNumbers (Value1, Value2: extended);

var

str1, str2, str3: str255;

Result: extended;

begin

Result := Value1 + Value2;

RealToString(Value1, 5, 2, str1);

RealToString(Value2, 5, 2, str2);

RealToString(Result, 5, 2, str3);

ShowMessage(Concat('1st number = ', str1, cr, '2nd number = ', str2, cr, 'Added result = ', str3));

end;

Step 3:

Modify the UserMacroCode; procedure to call your pascal procedure. The UserMacroCode procedure is found at the bottom of the User.p module. Because you could call differing UserCode routines, the string you pass into UserCode selects which routine you would like to call. This example checks to see if you have passed the string 'AddTwoNumbers'.

procedure UserMacroCode (str: str255; Param1, Param2, Param3: extended);

begin

MakeLowerCase(str);

if pos('addtwonumbers', str) <> 0 then begin

AddTwoNumbers(Param1, Param2);

exit(UserMacroCode);

end;

ShowNoCodeMessage;

end;

Step 4:

Compile your modified version of Image. Load your macro and execute away. Shown below is the result of the entire example.

.c.Pascal Examples, Techniques & Operations;

.c2.Users can use User.p

The User.p module is a good candidate for the placement of pascal source code which you develop.  Since the User.p module is strategically placed in the build order below other modules you can call  just about any routine in the rest of the project. Be sure to add the module name which contains the routine you are calling to the uses command in User.p

uses

QuickDraw, Palettes, PrintTraps, globals, Utilities, Graphics; <=== add module name here if you need to. Example would be File1, File2 or any other unit.

.c2.Recommended addition when adding to pascal

If you plan on modifying any of the pascal units, I would personally recommend that you add two comment lines to each and every pascal modification that you do. These are:

{Begin Modification}

YourModification;

{End Modification}

You won't regret it later when you go through code you wrote a year or two ago, or if you try and read somebody else's code. It is easy to use the find utility to find your old or other peoples modifications by searching on "begin modifications'.

.c2.Returning a value from pascal to a macro;

One method for returning a calculated value from a pascal routine back into a macro is to use the rUser1 or rUser2 arrays. You can return real numbers and many of them if you need too.

In Pascal have:

User1^[1] := MyReturnValue;

In the macro have:

ReturnedValue := rUser1[1];

Or if you desire seeing the output in the results window you could have a macro like this:

Macro 'Show table';

begin

SetOptions('User1');

SetPrecision(3);

SetCounter(5);

SetUser1Label('My 5 calc values');

ShowResults;

end;

.c2.Pascal versions of SelectSlice & SelectPic;

SelectSlice is available directly in pascal. You might set something up like the following:

if Info^.StackInfo <> nil then

SliceCount := Info^.StackInfo^.nSlices

else

SliceCount := 1;

for SliceNumber := 1 to SliceCount do begin

SelectSlice(SliceNumber);

For SelectPic you might copy this code (taken from macros source file) and pass the PictureNumber to the routine (i.e. for PictureNumber:=1 to nPics):

procedure SelectImage (id: integer);

begin

StopDigitizing;

SaveRoi;

DisableDensitySlice;

SelectWindow(PicWindow[id]);

Info := pointer(WindowPeek(PicWindow[id])^.RefCon);

ActivateWindow;

GenerateValues;

LoadLUT(info^.cTable);

UpdatePicWindow;

end;

.c2.Putmessage, showmessage & PutmessageWithCancel

PutMessage

PutMessage is perhaps one of the easiest ways to provide feedback to users. To use putmessage you simply call the routine with the message or string you wish to give to the user.

PutMessage('Capturing requires a Data Translation or SCION frame grabber card.');

You can pass multiple arguments with PutMessage. Doing this is a bit different is Pascal and macros.

PutMessage(concat('Have a ', 'Nice day'));

or even something like:

PutMessage(concat('A disastrous bug occurred at: ', Long2Str(BigBadWolf)));

PutMessageWithCancel

PutMessageWithCancel allows you to choose the path you might want to take in your code. Unlike putmessage, it allows you to press a cancel button. This might indicate that you should exit your procedure, such as in this example:

var

item: integer;

begin

item := PutMessageWithCancel('Do you really want to do this operation?');

if item = cancel then

exit(YourProcedure);

ShowMessage

ShowMessage allows display of calculations, data, variables or whatever you caste as a string into the Info window.

ShowMessage(CmdPeriodToStop);

or more involved:

ShowMessage(concat(str1, ' pixels ', cr, str2, ' seconds', cr, str3, ' pixels/second', cr, str));

c2.How to input a number

function GetInt (message: str255; default: integer; var Canceled: boolean): integer;

function GetReal (message: str255; default: extended; var Canceled: boolean): extended;

You probably don't want to develop an entire dialog routine just to pass a number into your procedure from the keyboard. Fortunately, you don't have to. A default dialog exists for getting integers and real numbers.

var

EndLoopCount:integer;

WasCanceled:boolean;

begin

....{rest of code}

EndLoopCount :=0;   {a default}

EndLoopCount := GetInt('Enter number of iterations:',0,WasCanceled);

if WasCanceled then

exit(YourProcedureName);

.c2.Reading from disk;

From disk to macro user arrays:

If you have tab delimited data which you want loaded into the macro User arrays, you can easily open the data with this routine. If you have more than two columns of data then use one or more of the other macro arrays.  To use this routine copy it into User.p, set it up as a UserCode call and recompile Image. You have to add File2 (File2.p contains GetTextFile) to the Uses clause at the beginning of User.p. Note that this routine has been changed for version of Image 1.54 and above.

procedure OpenData;

var

fname: str255;

RefNum, nValues, i: integer;

rLine: RealLine;

begin

if not GetTextFile(fname, RefNum) then

exit(OpenData);

InitTextInput(fname, RefNum);

i := 1;

while not TextEOF do

begin

GetLineFromText(rLine, nValues);

User1^[i] := rLine[1];

User2^[i] := rLine[2];

i := i + 1;

end;

end;

If you want to see the data, take a look at the macro above in the section on returning a value from pascal to a macro.

To your own arrays:

The routine is just as applicable to those who wish to read data from disk into arrays of their own, and not the user arrays. If you have your own large arrays, you will need to allocate memory for the pointers. An example of this is shown in the section "Memory". You can open data to as many arrays as you allocate by replacing User1^[i]. Example:

while not TextEOF do begin

GetLineFromText(rLine, nValues);

xCoordinate^[i] := rLine[1];

yCoordinate^[i] := rLine[2];

zCoordinate^[i] := rLine[3];

.c2.Memory and pointer allocation

Show below is an example of dynamic memory allocation;. If you plan on using a large array then you need to allocate memory for the task. You should free the memory when done.

Here is an example of allocating memory for pointer arrays in User.p:

{User global variables go here.}

const

MyMaxCoordinates = 5000;

type

CoordType = packed array[1..MyMaxCoordinates] of real;

CoordPtr = ^CoordType;

var

xCoordinate, yCoordinate, zCoordinate: CoordPtr;

procedure YourAllocationCode;

begin

xCoordinate := CoordPtr(NewPtr(SizeOf(CoordType)));

yCoordinate := CoordPtr(NewPtr(SizeOf(CoordType)));

zCoordinate := CoordPtr(NewPtr(SizeOf(CoordType)));

if (XCoordinate = nil) or (yCoordinate = nil) or (zCoordinate = nil) then begin

DisposPtr(ptr(xCoordinate));

DisposPtr(ptr(yCoordinate));

DisposPtr(ptr(zCoordinate));

PutMessage('Insufficient memory. Use get info and allocate more memory to Image');

end;

end;

If you don't need the pointer anymore you can free memory using the DisposPtr call.

.c2.Operating on an Image

The global variables below relate directly to handling of images. The entire PicInfo; record is not displayed. The actual record contains a number of other useful image parameters and can be seen in the globals.p file of the image project. Familiarity with the data structure is advisable to those who plan on modifying or operating on the image in any manner.

type

PicInfo = record

nlines, PixelsPerLine: integer;

ImageSize: LongInt;

BytesPerRow: integer;

PicBaseAddr: ptr;

PicBaseHandle: handle;

...... {many others covered, in part, in other sections}

end;

InfoPtr = ^PicInfo;

var

Info: InfoPtr;

Using this global structure allows for the simple use of

with Info^ do begin

DoSomethingWithImage;

end;

.c2.Getting at the bytes of an image

Any number of techniques can be used to access the image for use or modification purposes. Several techniques and examples are listed below. The choice for which to use largely depends upon the application at hand.

Pascal routines such as GetLine use the LineType. First look at the definition of LineType. LineType is globally declared as:

LineType = packed array[0..MaxLine] of UnsignedByte;

Naturally, UnsignedByte; has been type defined as:

UnsignedByte = 0..255;

Pascal Technique one: Use Apple's "CopyBits" to wholesale copy a ROI,  memory locations, or an entire image. Example's of CopyBits can be seen in the Image source code Paste procedure, some of the video capture routines and many others.

Pascal Technique two: Use ApplyTable to change pixels from their current value to pixels of another value. You fill the table with your function. The simple example below, which is extracted from DoArithmetic, would add a constant value to the image. The index of the table is the old pixel value and tmp is the new pixel value. With ApplyTable you don't have to work with a linear function like adding a constant. You basically can apply any function you like. Of course, you would want to always check and see if you are above 255 or below zero and truncate as needed. The actual ApplyTable procedure calls assembly coded routines in applying the function to the image.

Technique 2 example

procedure SimpleUseOfApplyTable;

var

table: LookupTable;

i: integer;

tmp: LongInt;

Canceled: boolean;

begin

constant := GetReal('Constant to add:', 25, Canceled);

for i := 0 to 255 do begin

tmp := round(i + constant);

if tmp < 0 then

tmp := 0;

if tmp > 255 then

tmp := 255;

table[i] := tmp;

end;

ApplyTable(table);

end;

Aside from "doing arithmetic" such as adding and subtracting, the AppyTable routine is used by Image to apply the Look Up Table (LUT) to the image. Changing the LUT, such as by contrast enhancement or using the LUT tool, doesn't change the bytes of the image until the menu selection "Apply LUT" is selected from the Enhance menu.

Technique Three:

A: Use a procedure such as GetLine to move sequentially down lines of the image. You can access each line as an array. Compiled pascal is obviously much than a macro at doing this. In addition, your macro can call the faster compiled pascal code.

B: Use the Picture base address, offset to current location, and Apple's Blockmove to access individual lines of the image. Again, each line can be treated as an array allowing access to individual picture elements. Examples below.

First look at the definition of LineType. LineType is globally declared as:

LineType = packed array[0..MaxLine] of UnsignedByte;

Naturally, UnsignedByte; has been type defined as:

UnsignedByte = 0..255;

For the technique 3 examples you can either:

1) Deal with the entire image and find it's width and height as:

with info^.PicRect do begin

width := right - left;

height := bottom - top;

vstart := top;

hstart := left;

end;

2) Deal with just the ROI that you have created and use:

with Info^.RoiRect do begin

width := right - left;

RoiTop := top;

RoiBottom := bottom;

RoiLeft := left;

RoiRight := right;

end;

It is often useful to have your routine automatically define the entire image as the area which you will operate on. To automatically select the image you might do the following:

var

AutoSelectAll: boolean;

begin

AutoSelectAll := not info^.RoiShowing;

if AutoSelectAll then

SelectAll(false);

The false parameter is used to make an invisible ROI rather than the visible 'marching ants' typified by ROI selections. By first checking if an ROI exists, this code prevents overwrite of your specific ROI.

Technique 3A example

See specific examples in the procedure ExportAsText, DoInterpolatedScaling and others. See also the procedure GetLine.

procedure AnyOldProcedure;

var

width, hloc, vloc: integer;

theLine: LineType;

begin

with info^.RoiRect do begin

width := right - left;

for vloc := top to bottom - 1 do begin

GetLine(left, vloc, width, theLine);

for hloc := 0 to width - 1 do begin

DoSomethingWithinTheLine   i.e. TheLine[hloc]

end;

end;

end;

end;

Technique 3B example

This prolonged example will perform the same function as the 3a. It may or may not be easier for you to see how it functions, but should let you see how GetLine can do the job with a lot less programming. As usual some of the variables are seen in the globally declared PicInfo record.

procedure AnotherOldProcedure;

var

OldLine,NewLine: LineType;

SaveInfo: InfoPtr;

p, dst: ptr;

offset: LongInt;

c,i: Integer;

begin

SaveInfo := Info;

with info^.PicRect do begin

width := right - left;

height := bottom - top;

vstart := top;

hstart := left;

end;

if NewPicWindow('new window', width, height) then

with SaveInfo^ do begin

offset := LongInt(vstart) * BytesPerRow + hstart;

p := ptr(ord4(PicBaseAddr) + offset);

dst := Info^.PicBaseAddr;

while i <= height do begin

BlockMove(p, @OldLine, width);

p := ptr(ord4(p) + BytesPerRow);

while c <= Saveinfo^.pixelsperline do begin

NewLine[c] := OldLine[c] {+ or -??-find a pixel and do what you want}

end;

BlockMove(@NewLine, dst, width);

dst := ptr(ord4(dst) + width);

end; {while i <= height}

end; { with SaveInfo^}

end;

The 3b example is an oversimplification of the function duplicate in the image project. It usually is a good idea to first create a new window to move your information to. The NewPicWindow; procedure can do this. The dst pointer can point into the new windows memory.

.c2.Working with two images;

If you want to work with two images in pascal, using the data from one to effect the other image, you could set up something like the following code. You can easily work with two InfoPtr's to do the job. You might pass the picture number from a macro for convenience

SrcInfo := Info;

DestPic := Trunc(FinalImage);

Info := pointer(WindowPeek(PicWindow[DestPic])^.RefCon);

DstInfo := Info;{assign it to DstInfo}

for vloc := RoiTop to RoiBottom - 1 do begin

Info := SrcInfo;

GetLine(RoiLeft, vloc, width, CurLinePtr^);

{Do something with the data and put the data to the other window}

NewLinePtr^[hloc] := CurLinePtr^[hloc]*myfactor

Info := DstInfo;

PutLine(RoiLeft, vloc, width, NewLinePtr^);

.c2.Touching the 4th dimension;

If you have multiple stacks of images which all relate to each other in some manner, you can load them all into memory for calculations. A program such as SpyGlass is useful for viewing this type of data, but it may not provide you with the means for calculating terribly much. If you wish to have a unique calculated value, or any type of value, for each point in each stack you could use Image and set something up like the below. Make sure you use Long integers for just about everything of the integer type. This routine should work with stacks of differing sizes loaded (i.e. one stack could be 200x200x5 and others might be 256x256x10 and so on).

{Set up multiple for loops for nPics and each SliceCount}

for PictureNumber := 1 to npics...

{You must find the previous data offset for the final array}

CurrentInfo := Info;

PreviousEndOfData := 0;

for i := 1 to PictureNumber - 1 do begin

TempInfo := pointer(WindowPeek(PicWindow[i])^.RefCon);

Info := TempInfo;

with Info^.PicRect do begin

Previouswidth := right - left;

Previousheight := bottom - top;

end;

if Info^.StackInfo <> nil then

PreviousSliceCount := Info^.StackInfo^.nSlices

else

PreviousSliceCount := 1;

BytesUsed := PreviousSliceCount * PreviousWidth * PreviousHeight;

PreviousEndOfData := PreviousEndOfData + BytesUsed;

end;

Info := CurrentInfo;

{Find how many slices in the current pic}

if Info^.StackInfo <> nil then

SliceCount := Info^.StackInfo^.nSlices

else

SliceCount := 1;

For SliceNumber := 1 to SliceCount ....

{Set up rest of the for loops here. The usual, up to hloc & vloc}

{put those here}

{Now compute a unique array offset}

ArrayOffset := PreviousEndOfData + (SliceNumber - 1) * LongInt(width) * height + LongInt(width) * longInt(vloc) + LongInt(hloc);

{Finally store your calculation into a unique location}

MyHugeArray^[ArrayOffset] := SomeCalculatedValue;

.c2.Creating a dialog box

Get

function GetDNum (TheDialog: DialogPtr; item: integer): LongInt;

function GetDString (TheDialog: DialogPtr; item: integer): str255;

function GetDReal (TheDialog: DialogPtr; item: integer): extended;

Set

procedure SetDNum (TheDialog: DialogPtr; item: integer; n: LongInt);

procedure SetDReal (TheDialog: DialogPtr; item: integer; n: extended; fwidth: integer);

procedure SetDString (TheDialog: DialogPtr; item: integer; str: str255);

procedure SetDialogItem (TheDialog: DialogPtr; item, value: integer);

Dialogs are a good way to handle user I/O. If you can't get by with the set of dialogs in Image you could add one of your own. They can be used to set parameters or give options to the user. Several example dialogs in Image are the preferences dialog box and the SaveAs dialog. The template for dialog boxes are in the Image.rsrc file under DLOG and DITL. The DITL resource is for creation of each dialog item in the DLOG. Naturally, each item in the dialog template has a reference integer value associated with it. This allows you to keep track of what you are pressing or which box you are entering information into.

To handle the dialog to user I/O, you need to have a tight loop checking what is being pressed or entered. If the user is entering a number or string you need to retrieve it with one of the GET dialog functions. Likewise, you can pass information or turn off a button with the SET procedures. The basic form for a dialog loop appears below:

mylog := GetNewDialog(130, nil, pointer(-1)); {retrieve the dialog box}

Do default SET's here

OutlineButton(MyLog, ok, 16);

repeat

ModalDialog(nil, item);

if item = SomeDialogItemID then begin

Get or Set something

...  lots of if statements to check which item is pressed

until (item = ok) or (item = cancel);

DisposDialog(mylog);

.c2.Key & mouse

function OptionKeyDown: boolean;

function ShiftKeyDown: boolean;

function ControlKeyDown: boolean;

function SpaceBarDown: boolean;

It is fairly common for a menu selection to have several possible paths to follow. The selection process can be dictated via use of simple boolean functions. For the most part they are self explanatory. Holding the option key down; when selecting a menu item is the most common way to select a divergent path. Your routine need only execute the function to test the key status.

if OptionKeyDown then begin

DoSomething;

end

else begin

DoSomeThingElse;

end;

CommandPeriod

function CommandPeriod: boolean;

The CommandPeriod; function is used when you want to interrupt execution of a procedure. For example you might include the following bit of code in a prolonged looping routine that you write:

if CommandPeriod then begin

beep;

exit(YourLoopingProcedure)

end;

Mouse button

Apple has supplied several mouse button routines such as the true or false button boolean. It's functionality is the same as in the macro language.

Function Button:boolean;

The button functions are explained in Inside Mac

.c2.Image and text

There are a number of ways to handle text with Image. If you are working in the context of macros, then a text window should handle most of what you want to do. Copy and paste functions work with the text window. Sample macros, such as the example under SelectPic and Selectwindow in the macros section above, show how to handle the majority of text data handling needs.

If your needs are larger, or if you are considering extensive data to disk handling, then you should consider using the textbuffer pascal routines described below. You can use these routines to export as text all the data you can possibly fill memory with. These are NOT connected with the text window routines, which are seperately seen in the Text.p file.

Global declarations

const

MaxTextBufSize = 32700;

type

TextBufType = packed array[1..MaxTextBufSize] of char;

TextBufPtr = ^TextBufType;

var

TextBufP: TextBufPtr;

TextBufSize, TextBufColumn, TextBufLineCount: integer;

Other useful definitions include:

cr := chr(13);

tab := chr(9);

BackSpace := chr(8);

eof := chr(4);

Dynamic memory allocation; for the textbuffer; (under Init.p) sets up a non-relocatable block of memory.

TextBufP := TextBufPtr(NewPtr(Sizeof(TextBufType)));

To clear the buffer set TextBufSize equal to zero. Use TextBufSize to keep track of what data within the textbuffer is valid. Anything beyond the length of TextBufSize is not useful. Many Apple routines, such as FSWrite, require the number of bytes be passed as a parameter.

Text buffer utilities

Some of the utilities associated with the textbuffer include:

procedure PutChar (c: char);

procedure PutTab;

procedure PutString (str: str255);

procedure PutReal (n: extended; width, fwidth: integer);

procedure PutLong (n: LongInt; FieldWidth: integer);

Expansion of PutString may help in the understanding of the functionality involved:

procedure PutString (str: str255);

var

i: integer;

begin

for i := 1 to length(str) do begin

if TextBufSize < MaxTextBufSize then

TextBufSize := TextBufSize + 1;

TextBufP^[TextBufSize] := str[i];

TextBufColumn := TextBufColumn + 1;

end;

end;

An example call sequence which places text into textbuffer might look something like:

PutSting('Number of Pixels');

PutTab;

PutString('Area');

putChar(cr);

To Save the textbuffer, the procedure SaveAsText can be used after a SFPPutfile to FSWrite data to the disk or other output.

Saving a text buffer

To Save the textbuffer, the procedure SaveAsText can be used after a SFPutfile. SaveAsText will FSWrite data to the disk. SFPutfile shows the standard file dialog box and FSWrite (within SaveAsText) does the actually saving to disk.

procedure SampleSaveBuffer;

var

Where: point;

reply: SFReply;

begin

SFPutFile(Where, 'Save as?', 'Buffer data', nil, reply);

if not reply.good then

exit(SampleSaveBuffer);

with reply do

SaveAsText(fname, vRefNum);    {this will handle the FSWriting}

end;

.c2.Photoshop plug-ins and debugging

Plug-in Advantages

-----------------

Can be written C

Work with other programs besides NIH Image

Work with the off-the-shelf versions of NIH Image

Plug-in Disadvantages

---------------------

Has to be written in C

Hard to debug

Does not have access to Image's internal data structures and routines

Debugging:

From Scott Wurcer <Scott.Wurcer@analog.com> reply on nih-image@soils.umn.edu

For simple plug-ins you can create a dialog that puts information into user

items via SetIText in response to a button or whatever. You can also pause and

restart your code via a few buttons. This allows you to run your plug-in stop

and check on internal variables or other items, and then proceed. You can

usually converge on a simple problem in a few iterations. Then throw out the

unneeded dialog items when you are done.

From davilla@marimba.cellbio.duke.edu (Scott Davilla) reply on nih-image@soils.umn.edu

The best way to debug a plug-in is with MacsBug (yes assembly).

While I have hear the one can debug extension type code with SourceBug,

I've never tried.  The problem with extension type code is that most

debuggers depend on symbolic definitions based on code that is compiled

and linked into an application (everything is very well defined).  With

extension type code, transfer into it is based on a blind jump to the

address of the plugin code (that gets loaded "manually" ie see the NIH

Image modual 'plugins.p'). Global variables are a big no no unless you

are clever with setting up the plug-in (see the apple tech note on

standalone code).

From Carl.Gustafson@cbis.ece.drexel.edu (Carl Gustafson) reply on nih-image@soils.umn.edu

TMON or MacsBug.

Seriously, you may want to write a simple program that loads the code

resource from the plugin, creates a parameter block, and then jumps to the

plugin's entry point. None of this is for the faint of heart.